## Sheet1
category | field | value
metadata | format | PDF 1.7
metadata | title | 101 SOP103354 03FEB25 JEN_no annotation.pdf
metadata | author
metadata | subject
metadata | keywords
metadata | creator
metadata | producer | Microsoft: Print To PDF
metadata | creationDate | D:20250924104458+05'30'
metadata | modDate | D:20250924104458+05'30'
metadata | trapped
metadata | encryption | None
summary | document_summary | # Comprehensive Summary: Fluorescence Assay Results - Experiment #1 ## Document Overview **Document Type:** Laboratory analytical report **Title:** Experiment #1 - Fluorescence Assay Results **Date:** February 3, 2025 **Operator:** jdea **Status:** QC Approved (February 4, 2025) ## Experimental Setup This document reports results from a fluorescence-based assay conducted using a SpectraMax M3 plate reader. The experiment utilized specific fluorescence parameters: - **Excitation wavelength:** 365 nm - **Emission wavelength:** 440 nm - **Cutoff filter:** 435 nm - **Reading conditions:** 6 flashes per read, auto PMT settings - **Temperature:** 20.2°C (mean) ## Main Sections and Content ### 1. Standard Curve Analysis The assay included a 6-point standard curve (0.0 to 2.5 concentration units) showing excellent linearity: - Standards ranged from 25,544 fluorescence units (0.0 std) down to 2,356 units (0.5 std), then increased linearly to 11,182 units (2.5 std) - Back-calculated concentrations showed high accuracy (99.42% to 101.20% recovery) - Quality control ratio (0.5 μM/0.0 μM) = 92.240 ### 2. Sample and Control Results - **Blank control (MUI):** 660.08 fluorescence units - **Reference sample:** 6,996.6 units - **Test samples 1-3:** Results ranging from 6,972 to 7,410 units (all similar to reference) - **Samples 4-6:** No data collected ### 3. Quality Control Information - Document follows approved SOP protocol (NVT615/2025Q1/101 SOP1033S4) - QC verification completed and approved - Proper documentation chain maintained ## Key Findings and Data Quality - The standard curve demonstrates excellent assay performance with consistent back-calculation accuracy - Sample results show good reproducibility among tested samples (1-3) - The assay appears to be measuring pmole-level concentrations - Data collection was systematic and well-documented ## Document Purpose and Context This appears to be a quantitative fluorescence assay, likely for biochemical or pharmaceutical analysis, designed to measure specific analyte concentrations in unknown samples against a calibrated standard curve. The high level of QC documentation suggests this is part of a regulated analytical environment, possibly for drug development or clinical testing applications. **Document Status:** Page 1 of 2 (additional pages may contain further analysis or interpretation)
structured_data | raw_extraction | ```json { "document_info": { "title": "Document Analysis: Experiment #1 - Fluorescence Assay Results", "experiment_id": "Experiment#1", "document_type": "Fluorescence Assay Results" }, "instrument_settings": { "endpoint": "Fluorescence", "parameters": ["Ex", "Auto Cutoff", "Em"], "lm1_values": [365, 435, 440], "pmt_optics": "Auto", "reads_per_flash": 6, "wavelength_combination": "fLm1" }, "instrument_info": { "model": "SpectraMax M3", "rom_version": "v3.0.22 16Feb11", "operator": "jdea", "mean_temperature": "20.2°C" }, "timing_info": { "start_read": "10:32 03-Feb-2025", "read_dates": [ "03-Feb-2025 10:11", "03-Feb-2025 10:12", "03-Feb-2025 10:13", "03-Feb-2025 10:14", "03-Feb-2025 10:15", "03-Feb-2025 10:27", "03-Feb-2025 10:28", "03-Feb-2025 10:30", "03-Feb-2025 10:31", "03-Feb-2025 10:32" ] }, "well_data": { "standard_curve": [ { "well": "A1", "type": "0.0 Std", "value": 25544, "reduced_value": 25544, "timestamp": "03-Feb-2025 10:11" }, { "well": "A2", "type": "0.5 Std", "value": 2356.2, "reduced_value": 2356.2, "timestamp": "03-Feb-2025 10:12" }, { "well": "A3", "type": "1.0 Std", "value": 4613.0, "reduced_value": 4613.0, "timestamp": "03-Feb-2025 10:13" }, { "well": "A4", "type": "1.5 Std", "value": 6842.5, "reduced_value": 6842.5, "timestamp": "03-Feb-2025 10:13" }, { "well": "A5", "type": "2.0 Std", "value": 9023.8, "reduced_value": 9023.8, "timestamp": "03-Feb-2025 10:14" }, { "well": "A6", "type": "2.5 Std", "value": "1.1e4", "reduced_value": "1.1e4", "timestamp": "03-Feb-2025 10:15" } ], "samples": [ { "well": "B1", "type": "MUI Blank", "value": 660.08, "reduced_value": 660.08, "timestamp": "03-Feb-2025 10:27" }, { "well": "B2", "type": "Reference", "value": 6996.6, "reduced_value": 6996.6, "timestamp": "03-Feb-2025 10:28" }, { "well": "B3", "type": "Sample 1", "value": 7061.5, "reduced_value": 7061.5, "timestamp": "03-Feb-2025 10:30" }, { "well": "B4", "type": "Sample 2", "value": 6971.6, "reduced_value": 6971.6, "timestamp": "03-Feb-2025 10:31" }, { "well": "B5", "type": "Sample 3", "value": 7409.7, "reduced_value": 7409.7, "timestamp": "03-Feb-2025 10:32" }, { "well": "B6", "type": "Sample 4", "value": null, "reduced_value": null, "timestamp": null, "status": "No Data" }, { "well": "B7", "type": "Sample 5", "value": null, "reduced_value": null, "timestamp": null, "status": "No Data" }, { "well": "B8", "type": "Sample 6", "value": null, "reduced_value": null, "timestamp": null, "status": "No Data" } ] }, "reference_info": { "all_wells": "No Reference" }, "incomplete_sections": { "standards_calculation_table": { "status": "incomplete", "headers": ["Sample", "Concentration", "Wells", "Values", "Back Calc Conc (pmoles)", "Percent Back Calc"], "note": "Table data appears to be cut off in the provided content" } } } ```
page_content | page_1 | # Document Analysis: Experiment #1 - Fluorescence Assay Results ## Document Header **Title:** Experiment#1 ## Settings Information **Endpoint:** Fluorescence **Parameters:** Ex, Auto Cutoff, Em **Lm1:** 365, 435, 440 **PMT and Optics:** Auto **Reads:** 6 Flashes/read ## Well Data Results ### Standard Curve Wells (A1-A6) - **A1** (0.0 Std): 25,544 ¦ Reduced: 25,544 ¦ Date: 03-Feb-2025 10:11 ¦ Ref: No Reference - **A2** (0.5 Std): 2356.2 ¦ Reduced: 2356.2 ¦ Date: 03-Feb-2025 10:12 ¦ Ref: No Reference - **A3** (1.0 Std): 4613.0 ¦ Reduced: 4613.0 ¦ Date: 03-Feb-2025 10:13 ¦ Ref: No Reference - **A4** (1.5 Std): 6842.5 ¦ Reduced: 6842.5 ¦ Date: 03-Feb-2025 10:13 ¦ Ref: No Reference - **A5** (2.0 Std): 9023.8 ¦ Reduced: 9023.8 ¦ Date: 03-Feb-2025 10:14 ¦ Ref: No Reference - **A6** (2.5 Std): 1.1e4 ¦ Reduced: 1.1e4 ¦ Date: 03-Feb-2025 10:15 ¦ Ref: No Reference ### Control and Sample Wells (B1-B8) - **B1** (MUI Blank): 660.08 ¦ Reduced: 660.08 ¦ Date: 03-Feb-2025 10:27 ¦ Ref: No Reference - **B2** (Reference): 6996.6 ¦ Reduced: 6996.6 ¦ Date: 03-Feb-2025 10:28 ¦ Ref: No Reference - **B3** (Sample 1): 7061.5 ¦ Reduced: 7061.5 ¦ Date: 03-Feb-2025 10:30 ¦ Ref: No Reference - **B4** (Sample 2): 6971.6 ¦ Reduced: 6971.6 ¦ Date: 03-Feb-2025 10:31 ¦ Ref: No Reference - **B5** (Sample 3): 7409.7 ¦ Reduced: 7409.7 ¦ Date: 03-Feb-2025 10:32 ¦ Ref: No Reference - **B6** (Sample 4): No Data ¦ Date: No Data ¦ Ref: No Reference - **B7** (Sample 5): No Data ¦ Date: No Data ¦ Ref: No Reference - **B8** (Sample 6): No Data ¦ Date: No Data ¦ Ref: No Reference ## Technical Settings **Reduction Settings:** Wavelength Combination: fLm1 ## Read Information - **Instrument:** SpectraMax M3 - **ROM Version:** v3.0.22 16Feb11 - **Start Read:** 10:32 03-Feb-2025 - **Mean Temperature:** 20.2°C - **Read By:** jdea ## Standards Calculation Table ¦ Sample ¦ Concentration ¦ Wells ¦ Values ¦ Back Calc Conc (pmoles) ¦ Percent Back Calc ¦ ¦--------¦---------------¦-------¦---------¦-------------------------¦-------------------¦ ¦ 0.0 Std ¦ 0.0 ¦ A1 ¦ 25,544 ¦ -0.017 ¦ -Inf ¦ ¦ 0.5 Std ¦ 0.5 ¦ A2 ¦ 2356.174 ¦ 0.506 ¦ 101.14 ¦ ¦ 1.0 Std ¦ 1.0 ¦ A3 ¦ 4612.967 ¦ 1.012 ¦ 101.20 ¦ ¦ 1.5 Std ¦ 1.5 ¦ A4 ¦ 6842.518 ¦ 1.512 ¦ 100.81 ¦ ¦ 2.0 Std ¦ 2.0 ¦ A5 ¦ 9023.809 ¦ 2.001 ¦ 100.07 ¦ ¦ 2.5 Std ¦ 2.5 ¦ A6 ¦ 11181.518 ¦ 2.486 ¦ 99.42 ¦ ## Key Calculations **0.5 μM / 0.0 μM Std Ratio = 92.240** ## Document Footer **QC Information:** QC Verified Protocols/NVT615/2025Q1/101 SOP1033S4 03FEB25 JEN - Document Status: Approved 04-Feb-2025 14:46:52 Page 1 of 2